1) Easy Start Orange wire goes with  the white herm wire

4) Make a 3-way splice with the compressor (C) common

2) Remove the blue run (R) wire & splice into the ES Brown wire

3) Where you just removed the wire in step 2, connect the ES White wire