## Sheet1
What is the output connection for the generator?
| Ring terminal, connector, etc.? |  | Crimp ferrules
What is the output amperage for the generator?
| 120V | 240V
| 150-180A? | 75-90A?
Is there a recommended cable size (based on length)?
4-wire output leads ~6 ft length 2AWG with crimp ferrules
25 ft Remote control/starter cable (per Dave V)
Starter Battery
Per PowerTech:
850 CCA (Cold Cranking Amps) ~$210 2AWG
Fuse @ Batt + recommended
New SolidWorks drawings coming
Temp Chart coming