7
8
Verona VRB DC Power Distribution / Dometic Refer
12vdc Fuse Panel
Fuse#	Circuit	Rating
1	Awning Lights	2
2	LR Lights	10
3	Porch Light	10
4	Half Bath Lights	10
5	Full Bath Lights	10
6	Bedroom Lights	10
7	LP Det	10
8	Dinette Slideout	10
9	Bed Slideout	10
10	Clst Lts-Thermostat	10
11	Half Bath-Kit OHC	15
12	Full Bath OHC	15
13	Awning Power	15
14	Monitor Panel	15
15	Water Pump	15
16	Furnace	20
17	Out Ent / Power Amp	20
18	Refrigerator	20
To Verona VRB AC Power Distribution
A
B
Littelfuse 880076 Power Distribution Module
300 amp Class T Fuse
C
awg 4/0
To Jacks
awg2
D
E
To Engine Alternator
Mini-Breaker Panel
awg2
40
20
15
15
5
5
15
15
40
F
G
110vac
H
12vdc
Control
7
8
A
1
B
C
D
E
F
G
H
2
3
4
5
6
1
2
3
4
5
6
Drawn By:
Date:
Units:
Scale:
Description:
Drawing:
mike
6/29/2017
n/a
1:1
Verona VRB DC Power Distribution / With Dometic Refrigerator
awg 4/0 To Inverter
awg 1/0 To Gen Set
Chassis Battery
House Batteries
awg 4/0
awg2
awg 1/0
awg 4/0
Macerator
Main Slide
Schwintek
AGS
Tank Heat 1
Tank Heat 2
Isolator
awg 4/0
Macerator
Cargo Lights
Inverter Wake