7
8
Verona VSB AC Power Distribution
A
awg6/3-awg8/1
awg6/3
B
MS2012 Inverter
awg10/5
PD 52 Transfer Switch
C
awg10/3
Gen-Set Starter
D
Inverted 120vac
Breaker#	Circuit	Rating
1	Main	30
2	AV-TV-CAP / Front Slide	15/15
3	BR-LR Recepts / Refer	15/15
4	Box Recept / Bath GFI	15/15
5	Microwave	20
6	Kitchen GFI	15GFI
7
8
9
10
awg10/3
E
To Verona VSB DC Power Distribution
F
G
110vac
H
12vdc
Control
7
8
A
1
B
C
D
E
F
G
H
2
3
4
5
6
1
2
3
4
5
6
Drawn By:
Date:
Units:
Scale:
Description:
Drawing:
mike
6/29/2017
n/a
1:1
Verona VSB A/C Power Distribution
Awg 4/0 To Inverter
Awg 1/0 To Gen Set
ONAN RV QD 8000
Breaker#	Circuit	Rating
1	Main	50
2	Main	50
3	Primary Charge/ Washer	30/15
4	Front AC / Dryer	30/15
5	Rear AC / Dryer	30/15
6
7
8
9
10
Main 120vac
Inverter Wake-Up Line
RH50 Cord Reel